## IMPACT-SOC
Multi-criteria impact matrix of long-term storage options at SONGS - Societal view
[8 empty] | BAU |  |  | IN-STATE INTERIM |  |  | OFF-STATE INTERIM |  |  | IN-STATE DIRECT DISPOSAL |  |  | OFF-STATE DIRECT DISPOSAL |  |  | IN-STATE INTERIM & DISPOSAL |  |  | IN-STATE INTERIM & OFF-STATE DISP |  |  | OFF-STATE INTERIM & DISPOSAL
Dimension | ID | Criterion | Unit | Direction | Indifference threshold | Correlation | Binary | mean | min | max | mean | min | max | mean | min | max | mean | min | max | mean | min | max | mean | min | max | mean | min | max | mean | min | max | # of samples
Safety | 2.1 | Duration of onsite storage at SONGS (after 2020) | Years | minimize | 30 |  | FALSE | 200 | 200 | 200 | 30 | 20 | 40 | 30 | 20 | 40 | 60 | 20 | 100 | 60 | 20 | 100 | 30 | 20 | 40 | 30 | 20 | 40 | 30 | 20 | 40 | 267.7686
| 2.2 | Duration of storage in California until in-state disposal or transport off state (after 2020) | Years | minimize | 30 |  | FALSE | 200 | 200 | 200 | 200 | 200 | 200 | 30 | 20 | 40 | 60 | 20 | 100 | 60 | 20 | 100 | 90 | 40 | 140 | 90 | 40 | 140 | 30 | 20 | 40 | 267.7686
| 2.3 | Duration of isolation in a geologic disposal facility (before 2220) | Years | maximize | 30 |  | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 140 | 180 | 100 | 140 | 180 | 100 | 110 | 160 | 60 | 110 | 160 | 60 | 110 | 160 | 60 | 400
| 2.4 | Public radiation exposure risk during onsite storage at SONGS | Ci-person-year (x10^15) | minimize | 1.9995 | 2.1 | FALSE | 9.9321 | 7.7567 | 13.1263 | 1.6936 | 1.1296 | 2.2576 | 1.6936 | 1.1296 | 2.2576 | 3.0483 | 1.1296 | 5.4268 | 3.0483 | 1.1296 | 5.4268 | 1.6936 | 1.1296 | 2.2576 | 1.6936 | 1.1296 | 2.2576 | 1.6936 | 1.1296 | 2.2576 | 283.2651
| 2.5 | Public radiation exposure risk during storage in California | Ci-year (x10^10) | minimize | 1.5086 | 2.2 | FALSE | 10.5948 | 10.5948 | 10.5948 | 10.5948 | 10.5948 | 10.5948 | 2.1114 | 1.5429 | 2.6798 | 3.8019 | 1.5429 | 5.6356 | 3.8019 | 1.5429 | 5.6356 | 5.1772 | 2.6798 | 7.5792 | 5.1772 | 2.6798 | 7.5792 | 2.1114 | 1.5429 | 2.6798 | 222.4662
| 2.6 | Public dose during transport | mrem | minimize | 0.033387 |  | FALSE | 0 | 0 | 0 | 0.028918 | 0.0030488 | 0.10016 | 0.028918 | 0.0030488 | 0.10016 | 0.028918 | 0.0030488 | 0.10016 | 0.028918 | 0.0030488 | 0.10016 | 0.057836 | 0.0060976 | 0.20032 | 0.057836 | 0.0060976 | 0.20032 | 0.057836 | 0.0060976 | 0.20032 | 400
Economic | 2.7 | Total cost of onsite storage at SONGS | M$ | minimize | 390.2 | 2.1 | FALSE | 2270.6 | 2135.3 | 2541.2 | 300 | 200 | 496.8 | 300 | 200 | 496.8 | 606.6 | 200 | 1270.6 | 606.6 | 200 | 1270.6 | 300 | 200 | 496.8 | 300 | 200 | 496.8 | 300 | 200 | 496.8 | 291.78
| 2.8 | Total cost of interim storage and/or disposal in California | M$ | minimize | 483.5969 |  | FALSE | 0 | 0 | 0 | 2241.1884 | 2005.9384 | 2610.6675 | 0 | 0 | 0 | 656.7392 | 287.2875 | 1333.014 | 0 | 0 | 0 | 1536.8776 | 761.4259 | 2901.5815 | 880.1384 | 474.1384 | 1568.5675 | 0 | 0 | 0 | 400
| 2.9 | Total cost of transport | M$ | minimize | 5.3524 |  | FALSE | 0 | 0 | 0 | 6.6498 | 0 | 11.4963 | 11.2201 | 3.4094 | 21.1427 | 7.5566 | 3.6367 | 11.4963 | 6.0416 | 3.4094 | 8.4571 | 5.9121 | 4.3512 | 8.9521 | 4.2165 | 2.3623 | 5.7806 | 14.6939 | 1.7876 | 32.1142 | 400
| 2.10 | Total economic impact compensation during storage in California | M$ | maximize | 804.405 | 2.2 | TRUE | 4826.43 | 0 | 4826.43 | 723.9645 | 0 | 4826.43 | 723.9645 | 0 | 965.286 | 1447.929 | 0 | 2413.215 | 1447.929 | 0 | 2413.215 | 723.9645 | 0 | 3378.501 | 723.9645 | 0 | 3378.501 | 723.9645 | 0 | 965.286 | 400
| 2.11 | Financial risk from postponed investment costs of disposal (incl. repository closure) | B$-year | minimize | 45.8702 | 2.3 | FALSE | 132.4252 | 57.4575 | 275.2214 | 132.4252 | 57.4575 | 275.2214 | 132.4252 | 57.4575 | 275.2214 | 2.3701 | 0 | 17.2372 | 2.3701 | 0 | 17.2372 | 3.0165 | 0 | 20.6847 | 3.0165 | 0 | 20.6847 | 3.0165 | 0 | 20.6847 | 400
Note on F3: σ (s.d.) = (HCV - LCV)/6
Note on G3: E.g., indicator depends on x.x.x "-" indicated inverse correlation
Note on H3: Binary analysis considers only min/max values.